Specifier Note: You can copy and paste information from below into the relevant section of your master spec. (Date: Oct 2011, rev 3)

SECTION 072703

CLOSED-CELL POLYURETHANE FOAM AIR BARRIER

- GENERAL

      - SECTION INCLUDES

- A.	This section includes the following:

          - Closed-cell, medium-density spray polyurethane foam air barrier located in the non-accessible part of the wall.

- B.	Related Work in other Sections includes the following:

- Section 014000 - Quality Requirements; coordination with Owner’s independent testing and inspection agency.

- Section 014339 - Mock-Ups; exterior wall mock-ups.

- Section 015000 - Temporary Facilities and Controls; requirement to schedule work to prevent sunlight and weather exposure of materials beyond limits established by manufacturer; requirement to protect materials from damage after installation and prior to installation of enclosing work.

- Section 033000 – Cast-In-Place Concrete; requirement that backup concrete be smooth without protrusions.

- Section 042000 – Unit Masonry; requirement that backup masonry joints are flush and completely filled with mortar, and that excess mortar on brick ties will be removed; requirement for gap at deflection joints and fillers; coordination with sequencing of through-wall flashing.

- Section 054000 – Cold-Formed Metal Framing; metal exterior wall framing assemblies to support the closed-cell, medium density sprayed polyurethane foam.

- Section 061600 – Sheathing; requirement that backup gypsum sheathing has been installed.

- Section 075000 - Membrane Roofing; requirement for coordination with sequencing of membrane roofing; requirement to seal roof membrane to wall air barrier.

      - PERFORMANCE REQUIREMENTS

- A.	Material Performance:  Provide materials which have an air permeance not to exceed 0.004 cubic feet per minute per square foot under a pressure differential of 0.3 in. water (1.57 pounds per square foot) [0.02 liters per second per square meter at a pressure difference of 75 Pascals (0.02 L/(s·m²) @ 75 Pa)] when tested in accordance with ASTM E 2178 (unmodified). The water vapor permeance shall be determined in accordance with ASTM E 96 and shall be declared by the manufacturer.

- B.	Assembly Performance:  Provide a continuous air barrier in the form of an assembly that has an air leakage not to exceed 0.040 cubic feet per square foot per minute under a pressure differential of 0.3 in. water (1.57 pounds per square foot) [0.20 liters per second per square meter at a pressure difference of 75 Pascals (0.20 L/(s·m²) @ 75 Pa)] when tested in accordance with ASTM E 2357. Assembly shall accommodate movements of building materials by providing expansion and control joints as required. Expansion / control joints, changes in substrate and perimeter conditions shall have appropriate accessory materials at such locations.

          - Assembly shall be capable of withstanding combined design wind, fan and stack pressures, both positive and negative on the envelope without damage or displacement, and shall transfer the load to the structure.

          - Assembly air barrier material shall not displace adjacent materials in the assembly under full load.

          - Assembly shall be joined in an airtight and flexible manner to the air barrier material of adjacent assemblies, allowing for the relative movement of assemblies due to thermal and moisture variations, creep, and anticipated seismic movement.

- C.	Connections to Adjacent Materials:  Provide connections to prevent air leakage at the following locations:

- 1.	Foundation and walls, including penetrations, ties and anchors.

- 2.	Walls, windows, curtain walls, storefronts, louvers and doors.

- 3.	Different assemblies and fixed openings within those assemblies.

- 4.	Wall and roof/ceiling connections.

- 5.	Floors over unconditioned space.

- 6.	Walls, floor and roof across construction, control and expansion joints.

- 7.	Walls, floors and roof to utility, pipe and duct penetrations.

- 8.	Seismic and expansion joints.

- 9.	All other potential air leakage pathways in the building envelope.

      - SUBMITTALS

- A.	Submittals:  Submit in accordance with Division 01 requirements.

- B.	Quality Assurance Program:  Submit evidence of current contractor accreditation and installer certification under the Air Barrier Association of America’s (ABAA) Quality Assurance Program.  Submit accreditation number of the contractor and certification numbers of the installers.

- C.	Product Data:  Submit manufacturer’s product data, manufacturer's instructions for evaluating, preparing, and treating substrate, temperature and other limitations of installation conditions, technical data, and tested physical and performance properties.

- 1.	Submit letter from primary materials manufacturer indicating approval of products not manufactured by primary manufacturer.

- 2.	Include statement that materials are compatible with adjacent materials proposed for use.

- 3. 	Submit letter from the sealant manufacturer indicating sealant adhesion to the air barrier material meet the requirements of the project.

- D.	Samples:  Submit clearly labeled samples, three inch by 4 inch (75 mm by 100 mm) minimum size of each material specified.

- E.	Shop Drawings of Mock-Up:  Submit shop drawings of proposed mock-ups showing plans, elevations, large-scale details, and connections to the test apparatus.

- F.	Field Test Results of Mock-Up:  Submit test results of air leakage test and water leakage test of mock-up in accordance with specified standards, including retesting if initial results are not satisfactory.

- G.	Shop Drawings: Submit shop drawings showing locations and extent of air barrier assemblies and details of all typical conditions, intersections with other envelope assemblies and materials, membrane counter-flashings, and details showing how gaps in the construction will be bridged, how inside and outside corners are negotiated, how materials that cover the materials are secured with air-tight condition maintained, and how miscellaneous penetrations such as conduits, pipes, electric boxes and similar items are sealed.

- 1.	Include VOC content of each material, and applicable legal limit in the jurisdiction of the project.

- 2.	Include statement that materials are compatible with adjacent materials proposed for use.

- 3	Include recommended values for field adhesion test on each substrate.

- H.	Compatibility:  Submit letter from manufacturer stating that materials proposed for use are permanently chemically compatible and adhesively compatible with adjacent materials proposed for use.  Submit letter from manufacturer stating that cleaning materials used during installation are chemically compatible with adjacent materials proposed for use.

- I.	Air Barrier Subcontractor Qualifications:  Subcontractor shall be accredited at time of bidding and during the complete installation period by the Air Barrier Association of America (ABAA) whose installers are certified in accordance with the site Quality Assurance Program used by ABAA.

- 1.	Closed-cell, medium density sprayed polyurethane foam air barrier installers shall be certified by BPQI (Building Performance Quality Institute) for the ABAA Quality Assurance Program in accordance with the requirements outlined in the QAP program used by ABAA.  Installers shall have their photo-identification air barrier certification cards in their possession and available on the project site, for inspection upon request.

- J.	Manufacturer:  Obtain primary ABAA listed materials from a single ABAA Licensed manufacturer regularly engaged in manufacturing specified closed-cell, medium density sprayed polyurethane foam.  Obtain secondary materials from a source acceptable to the primary materials manufacturer.

- K.	Accredited Laboratory Testing for Materials:  Laboratory accredited by International Accreditation Service Inc. (IAS), American Association for Laboratory Accreditation (A2LA), or the Standards Council of Canada (SCC).

- L.	VOC Regulations:  Provide products which comply with applicable regulations controlling the use of volatile organic compounds.

- M.	Preconstruction Meeting:  Convene a minimum of two weeks prior to commencing Work of this Section.  Agenda shall include, at a minimum, construction and testing of mock-up, sequence of construction, coordination with substrate preparation, air barrier materials approved for use, compatibility of materials, coordination with installation of adjacent and covering materials, and details of construction and chemical/fire safety plans.  Attendance is required by representatives of related trades including covering materials, substrate materials and adjacent materials.

- N.	Field Quality Assurance:  Implement the site Quality Assurance Program requirements used by ABAA.  Cooperate with ABAA inspectors and any independent testing and inspection agencies engaged by the Owner.  Do not cover the air barrier assembly until it has been inspected, tested and accepted.

- O.	Mock-Ups:  Build mock-up representative of primary assemblies and glazing assemblies including backup wall and typical penetrations as acceptable to the Architect.  Mock-up shall be approximately 8 feet long by 8 feet high (2.5 meters long by 2.5 meters high) and include the materials and components proposed for use in the exterior wall assembly.  Mock-up shall be suitable for testing as specified in the following paragraph.

- P.	Mock-Up Tests for Air and Water Infiltration:  Test mock-up for air and water infiltration in accordance with ASTM E 1186 (air leakage location), ASTM E 783 (air leakage quantification) at a pressure difference of 1.57 lb/ft² (75Pa) and ASTM E 1105 (water penetration).  Use smoke tracer to locate sources of air leakage.  If deficiencies are found, reconstruct mock-up and retest until satisfactory results are obtained.  Deficiencies include air leakage beyond values specified, uncontrolled water leakage, unsatisfactory workmanship.

- 1.	Perform the air leakage test and water penetration test of mock-up prior to installation of cladding and trim but after installation of all fasteners for cladding and trim and after installation of other penetrating elements.

- Q.	Mock-Up Tests for Spray Polyurethane Adhesion:  Test mock-up of membrane for adhesion in accordance with ASTM D 4541 (modified) using a Type 1 pull tester except that the membrane shall be cut through to separate the material attached to the disk from the surrounding material.  Perform test after curing period recommended by the manufacturer.  Record mode of failure and area where the material failed in accordance with ASTM D 4541.  When the air barrier material manufacturer has established a minimum adhesion level for the product on the particular substrate, the inspection report shall indicate whether this requirement has been met.  Where the manufacturer has not declared a minimum adhesion value for their product/substrate combination, then the value shall simply be recorded.

- R.	Building Assembly Testing: A copy of the ASTM E 2357 test report showing drawings which identify the materials and photos of the assemblies tested, and the following results reported:  air infiltration and exfiltration through the assembly at 0.3 inches water (75 Pa) both before and after pressure cycling, for both specimen one and specimen two.

      - DELIVERY, STORAGE, AND HANDLING

- A.	Deliver materials to Project site in original packages with seals unbroken, labeled with manufacturer's name, product, date of manufacture, and directions for storage.

- B.	Store materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by air barrier spray foam manufacturer.  Protect stored materials from direct sunlight.

- C.	Handle materials in accordance with manufacturer’s recommendations.

      - PROJECT CONDITIONS

- A.	Temperature:  Install closed-cell, medium density spray polyurethane foam air barrier within range of ambient and substrate temperatures recommended by air barrier manufacturer.  Do not apply air barrier to a damp or wet substrate.

- B.	Field Conditions:  Do not install air barrier in snow, rain, fog, or mist. Do not install air barrier when the temperature of substrate surfaces and surrounding air temperatures are below those recommended by the manufacturer.

- C.	Sequencing.  Do not install air barrier material before the roof assembly has been sufficiently installed to prevent a buildup of water in the interior of the building.

- D.	Compatibility.  Do not allow closed-cell, medium density spray polyurethane foam to come in contact with chemically incompatible materials.

- E.	Ultra-violet exposure.  Do not expose the air barrier material to sunlight longer than as recommended by the manufacturer (if applicable).

      - WARRANTY

- A.	Manufacturer’s Material Warranty:  Provide manufacturer’s standard product warranty, for a minimum 3 years from date of Substantial Completion.

- B.	Subcontractor (approved by ABAA and manufacturer) Installation Warranty:  Provide a 2 year installation warranty from date of Substantial Completion, including all components of the air barrier assembly, against failures including loss of air tight seal, loss of watertight seal, loss of attachment, loss of cohesion and failure to cure properly.

- PRODUCTS

      - AIR BARRIER MATERIALS

        - Medium Density Closed Cell Spray Polyurethane Foam Air Barrier:  JM Corbond III by Johns Manville.

- 1.	Third Party Verification:  IAPMO ES #0146.

- 2.	Physical Properties:

- a.	Nominal Density (ASTM D1622):  2.0 lb/cu.ft.

- b.	Compressive Strength, 1 inch thickness (ASTM D1621):  25 psi.

- c.	Compressive Strength, 3 inch thickness (ASTM D1621):  20 psi.

- d.	Closed-Cell Content (ASTM D1940):  Greater than 90 percent.

- e.	K-Factor (ASTM C518 initial):  0.15.

- f.	K-Factor (ASTM C1029 180-day aged):  0.16.

- g.	R-Value (ASTM C518 initial):  6.6.

- h.	R-Value (ASTM C1029 180-day aged):  6.4.

- i.	Water Absorption (ASTM D2842):  0.020 (gm/cc).

- j.	Water Vapor Transmission (ASTM E96):  0.61 perms at 1.5 inches.

- k.	Air Infiltration (ASTM E283):  75 Pa 0.001 L/S/m2 (1.57 psf) (less than 0.001 cfm/ft2); 300 Pa 0.001 L/S/m2 (6.24 psf) (less than 0.001 cfm/ft2).

- l.	Air Permeance (ASTM E2178):  75 Pa 0.000055 L/S.m2.Pa 0.000117 ft3/min.mw.Pa; 300 Pa 0.000024 L/./m2.Pa 0.000051 ft3/min.mw.Pa.

- m.	Sound Transmission Coefficient (STC) (ASTM E90 and ASTM E413):  36 STC; 2x4 wood stud, 16 inches on centers, 2.76 of JM Corbond III SPF, 15/32 inch exterior OSB sheeting, 1/2 inch gypsum wallboard.

- n.	Recycled Content of Side B:  10 percent (pre- and post-consumer).

- 3.	AABA Performance Values:

- a.	Dimensional Stability (ASTM D2126): Maximum -4% at -4°F, 8% at 176°F and 15% at 158°F.

- b.	Water Absorption (ASTM D2842): Maximum 4%.

- c.	Open-cell content (ASTM D6226): Maximum 10%.

- d.	Pull-adhesion (ASTM D4541): Minimum 16 psi.

- e.	Crack Bridging (ASTM C1305): Pass at -15oF.

- f.	Fungi Resistance (ASTM C1338): No growth.

- g.	Flame Spread Characteristics (ASTM E84): Maximum <25.

- h.	Smoke Developed Characteristics (ASTM E84): Maximum <450.

        - Transition Membranes and Flashings:

- 1.	Membrane at Transitions in Substrate and Connections to Adjacent Elements:  One of the following as acceptable to the spray polyurethane foam air barrier manufacturer.

- a.	CCW-705 TWF by Carlisle Coatings and Waterproofing.

- b.	Perm-A-Barrier Flashing by Grace Construction Products.

- c.	Blueskin SA by Henry.

- d.	Poly Wall Self Adhering Flashing by Polyguard Products, Inc.

- e.	ExoAir 110 by Tremco, Inc.

- f.	Air Shield by W. R. Meadows, Inc.

- 2.	Transition Membrane between Air Barrier Membrane and Roofing and Other Adjacent Materials:  Comply with both air barrier manufacturer’s recommendations and material manufacturer’s recommendations.

- 3.	Counter-flashing for Masonry Through-Wall Flashing:  One of the following as acceptable to the spray polyurethane foam air barrier manufacturer.

- a.	CCW-705 TWF by Carlisle Coatings and Waterproofing.

- b.	Perm-A-Barrier Flashing by Grace Construction Products.

- c.	Blueskin TWF by Henry.

- d.	Poly Wall Self Adhering Flashing by Polyguard Products, Inc.

- e.	ExoAir TWF by Tremco, Inc.

- f.	Detail Strip by W. R. Meadows, Inc.

- EXECUTION

      - EXAMINATION

- A.	Examine substrates, areas, and conditions under which the air barrier assembly will be installed, with Installer present, for compliance with requirements.

          - Verify that surfaces and conditions are suitable prior to commencing work of this section.  Do not proceed with installation until unsatisfactory conditions have been corrected.

          - Ensure that the following conditions are met:

            - Surfaces are sound, dry, even, and free of oil, grease, dirt, excess mortar or other contaminants

            - Concrete surfaces are cured and dry, smooth without large voids or sharp protrusions.

            - Masonry joints are reasonably flush, and all excess mortar sitting on masonry ties has been removed.

          - Verify substrate is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263 and take suitable measures until substrate passes moisture test.

          - Verify sealants are compatible with membrane proposed for use.  Perform field peel-adhesion test on materials to which sealants are adhered.

          - Notify Architect in writing of anticipated problems using closed-cell, medium density spray polyurethane foam over substrate prior to proceeding.

      - SURFACE PREPARATION

- A.	Clean, prepare, and treat substrate according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrate for air barrier application.

- 1.	Ensure that penetrating work by other trades is in place and complete.

- 2.	Prepare surfaces by brushing, scrubbing, scraping, grinding or compressed air to remove loose mortar, dust, oil, grease, oxidation, mill scale and other contaminants which will affect adhesion of the closed-cell, medium density spray polyurethane foam.

- 3.	Where there are release agents or other non-compatible coatings, wipe down metal surfaces to remove these release agents or other non-compatible coatings, using clean sponges or rags soaked in a solvent compatible with the spray polyurethane foam.

- 4.	Ensure veneer anchors are in place.

- B.	Prime substrate for installation of sheet membrane transition strips if recommended by manufacturer and as follows:

          - Prime masonry, concrete substrates with conditioning primers.

          - Prime glass-fiber surfaced gypsum sheathing an adequate number of coats to achieve required bond, with adequate drying time between coats.

          - Prime wood, metal, and painted substrates with primer.

          - Prepare, treat, and seal vertical and horizontal surfaces at terminations and penetrations through air barrier and at protrusions.

- C.	Protection from Spray Applied Materials:

- 1.	Mask and cover adjacent areas to protect from overspray.

- 2.	Ensure any required foam stop or back up material are in place to prevent over spray and achieve complete seal.

- 3.	Seal off existing ventilation equipment.  Install temporary ducting and fans to ensure exhaust fumes.  Provide for make-up air.

- 4.	Erect barriers, isolate area and post warning signs to advise non-protected personnel to avoid the spray area.

      - INSTALLATION

- A.	Transition Strip Installation:  Install transition strips to provide continuity throughout the building enclosure.  Install materials in accordance with manufacturer's recommendations and the following:

          - Apply primer for transition strips at rate recommended by manufacturer.  Allow primer to dry completely before transition strip application.  Apply as many coats as necessary for proper adhesion.

          - Position subsequent sheets of transition strips applied above so that membrane overlaps the membrane sheet below by a minimum of 2 inches (50 mm), unless greater overlap is recommended by manufacturer.  Roll into place with roller.

          - Overlap horizontally adjacent pieces of transition strips a minimum of 2 inches (50 mm), unless greater overlap is recommended by manufacturer.  Roll seams with roller.

          - Seal around all penetrations with a transition strip or other procedure in accordance with manufacturer’s recommendations.

          - Connect air barrier in exterior wall assembly continuously to the air barrier of the roof/ceiling, to concrete below-grade structures, to windows, curtain wall, storefront, louvers, exterior doors, penetrations, and other intersection conditions using transition membranes and in accordance with the manufacturer’s recommendations.

          - At some changes in substrate plane, provide transition material recommended by manufacturer to make a smooth transition from one plane to another if recommended by the air barrier manufacturer.

          - Provide mechanically fastened non-corrosive metal sheet to span gaps greater than 1 inch (25 mm) in substrate plane and to make a smooth transition from one plane to the other.  Membrane shall be continuously supported by substrate.

          - At through-wall flashings, provide an additional 6 inch (150 mm) wide strip of manufacturer’s recommended membrane counterflashing to seal top of through-wall flashing to membrane.  Seal exposed top edge of strip with bead of mastic as recommended by manufacturer.

          - At deflection and control joints, provide backup for the membrane to accommodate anticipated movement.

          - At expansion and seismic joints provide transition to the joint assemblies.

          - Apply a bead or trowel coat of mastic along membrane seams at reverse lapped seams, rough cuts, and as recommended by the manufacturer when membrane will be exposed to the elements.

          - At end of each working day, seal top edge of self-adhered membrane to substrate with termination mastic if exposed.

          - Do not allow materials to come in contact with chemically incompatible materials.

          - Do not expose transition membrane to sunlight longer than as recommended by the manufacturer.

          - Ensure that transition membranes at terminations have a pull adhesive of 16 psi or greater.

          - Inspect installation prior to enclosing assembly and repair damaged areas with spray polyurethane foam as recommended by manufacturer.

- B.	Spray Polyurethane Foam Installation: Install materials in accordance with manufacturer's recommendations, ULC S 705.2 and the following:

- Installer shall use proper personal protective equipment (PPE) during the installation of material in accordance with US Government regulation 29 CFR 1910.134.

- Warning signs shall be displayed and non-protected personnel shall be kept from the spray area in accordance with ULC S705.2.

- Equipment used to spray polyurethane foam shall comply with ULC S 705.2 and the manufacturer’s recommendations for the specific type of application. Record equipment settings on the Daily Work Record as required by the ULC S 705.2 installation standard. Each proportioner unit shall supply only one spray gun.

- Apply only when surfaces and environmental conditions are within limits prescribed by the material manufacturer or the ULC S 705.2 Installation standard.

- Apply in consecutive passes as recommended by manufacturer to thickness as indicated on drawings.  Passes shall be not less than  1/2 inch (12 mm) and not greater than 3 inches (75 mm).  An additional pass shall only be done after the first pass has had time to cool down.

- Install within manufacturer’s tolerances, but not more than minus 1/4 inch (6 mm).

- Do not install spray polyurethane foam within 3 inches (75 mm) of heat emitting devices such as light fixtures and chimneys.

- Finished surface of foam insulation to be free of voids and embedded foreign objects.

- Remove masking materials and over spray from adjacent areas immediately after foam surface has hardened.  Ensure cleaning methods do not damage work performed by other sections.

- Trim, as required, any excess thickness that would interfere with the application of cladding/covering system by other trades.

- Clean and restore surfaces soiled or damaged by work of the section.  Consult with section of work soiled before cleaning to ensure methods used will not damage the work.

- Complete connections to other components and repair any gaps, holes or other damage using material which conforms to ULC S 710.1 (single component) or ULC S 711.1 (two components) and installed in accordance with ULC S 710.2 or ULC S 711.2 as applicable.

      - FIELD QUALITY CONTROL

- A.	Owner’s Inspection and Testing:  Cooperate with Owner’s testing agency.  Allow access to work areas and staging.  Notify Owner’s testing agency in writing of schedule for Work of this Section to allow sufficient time for testing and inspection.  Do not cover Work of this Section until testing and inspection is accepted.

- B.	Air Barrier Association of America Installer Audits:  Cooperate with ABAA’s testing agency.  Allow access to work areas and staging.  Notify ABAA in writing of schedule for Work of this Section to allow sufficient time for testing and inspection. Do not cover Work of this Section until testing and inspection is accepted. Arrange and pay for site inspections by ABAA to verify conformance with the manufacturer’s instructions, the site Quality Assurance Program used by ABAA, and this section of the project specification.

- 1.	Inspections and testing shall be carried out at the following rate:

            - Up to 10,000 square feet (930 square meters) – one inspection

            - 10,001 – 35,000 square feet (931 – 3,250 square meters) – two inspections

            - 35,001 – 75,000 square feet (3,251 – 6,970 square meters) – three inspections

            - 75,001 - 125,000 square feet (6,971 – 11,610 square meters) – four inspections

            - 125,001 – 200,000 square feet (11,611 – 18,580 square meters) – five inspections

            - Over 200,00 square feet (18,580 square meters) – six inspections.

- 2.	Forward written inspection reports to the Architect within 10 working days of the inspection and test being performed.

- 3.	If the inspections reveal any defects, promptly remove and replace defective work at no additional cost to the Owner.

      - PROTECTING AND CLEANING

- A.	Protect air barrier materials from damage during installation and the remainder of the construction period, according to manufacturer's written instructions.

          - Coordinate with installation of materials which cover the air barrier assemblies, to ensure exposure period does not exceed that recommended by the manufacturer.

- B.	Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction and acceptable to the primary material manufacturer.

- END OF SECTION