Johns Manville

717 17th Street 80202

Denver, CO 80202-5108

Phone: (303) 978-2434

E-mail: Jeffrey.job@jm.com

www.jm.com

SECTION 07 21 19

FOAMED-IN-PLACE INSULATION

- GENERAL

      - SUMMARY

- A.	This section includes the following:

          - Closed-cell, medium-density spray polyurethane foam insulation. (JM Gen IV)

- B.	Related Work in other Sections includes the following:

- Section 014000 - Quality Requirements; coordination with Owner’s independent testing and inspection agency.

- Section 014000 - Mock-Ups; exterior wall mock-ups.

- Section 015000 - Temporary Facilities and Controls; requirement to schedule work to prevent sunlight and weather exposure of materials beyond limits established by manufacturer; requirement to protect materials from damage after installation and prior to installation of enclosing work.

- Section 033000 – Cast-In-Place Concrete; requirement that backup concrete be smooth without protrusions.

- Section 042000 – Unit Masonry; requirement that backup masonry joints are flush and completely filled with mortar, and that excess mortar on brick ties will be removed; requirement for gap at deflection joints and fillers; coordination with sequencing of through-wall flashing.

- Section 054000 – Cold-Formed Metal Framing; metal exterior wall framing assemblies to support the closed-cell, medium density sprayed polyurethane foam.

- Section 061600 – Sheathing; requirement that backup gypsum sheathing has been installed.

- Section 075000 - Membrane Roofing; requirement for coordination with sequencing of membrane roofing; requirement to seal roof membrane to wall air barrier.

      - REFERENCES

- A.	ASTM International:

      - ASTM C518 Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus.

      - ASTM C1029 Standard Specification for Spray-Applied Rigid Cellular Polyurethane Thermal Insulation.

      - ASTM C1338 Standard Test Method for Determining Fungi Resistance of Insulation Materials and Facings.

      - ASTM D1621 Standard Test Method for Compressive Properties of Rigid Cellular Plastics.

      - ASTM D1622 Standard Test Method for Apparent Density of Rigid Cellular Plastics.

      - ASTM D6226 Standard Test Method for Open Cell Content of Rigid Cellular Plastics.

      - ASTM D2842 Standard Test Method for Water Absorption of Rigid Cellular Plastics.

      - ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials.

      - ASTM E90-85 Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

      - ASTM E96 Standard Test Methods for Water Vapor Transmission of Materials.

      - ASTM E413 Classification for Rating Sound Insulation.

      - ASTM E2178 Standard Test Method for Air Permeance of Building Materials.

      - ASTM E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

- B.	Nation Fire Protection Agency (NFPA):

- NFPA 285 Standard Test Method for Evaluation of Fire Propagation Characteristics of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components.

- NFPA 286 Standard Test Method of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth

- Section 015000 - Temporary Facilities and Controls; requirement to schedule work to prevent sunlight and weather exposure of materials beyond limits established by manufacturer; requirement to protect materials from damage after installation and prior to installation of enclosing work.

      - PERFORMANCE REQUIREMENTS

        - Fire-Test-Response Characteristics: Provide insulation and related materials with the fire-test-response characteristics indicated, as determined by testing identical products per test methods indicated below or other testing and inspecting agency acceptable to authorities having jurisdiction. Identify materials with appropriate markings of applicable testing and inspecting agency.

- 1.	Surface Burning Characteristics (ASTM E84):	Flame Spread <25 / Smoke Developed <450

- 2. 	Assembly Fire Resistance Rating (NFPA 285):  Passes NFPA 285 as part of an approved assembly.

- 3. 	Combustion Characteristics (NFPA 286): Pass

      - SUBMITTALS

- A.	Submittals:  Submit in accordance with Division 01 requirements.

- B.	Product Data:  Submit manufacturer’s product data, manufacturer's instructions for evaluating, preparing, and treating substrate, temperature and other limitations of installation conditions, technical data, and tested physical and performance properties.

- 1.	Submit letter from primary materials manufacturer indicating approval of products not manufactured by primary manufacturer.

- 2.	Include statement that materials are compatible with adjacent materials proposed for use.

- 3. 	Submit letter from the sealant manufacturer indicating sealant adhesion to the air barrier material meet the requirements of the project.

- C.	Samples:  Submit clearly labeled samples, 3 inches by 4 inches (75 mm by 100 mm) minimum size of each material specified.

- D.	Shop Drawings of Mock-Up:  Submit shop drawings of proposed mock-ups showing plans, elevations, large-scale details, and connections to the test apparatus.

- E	Field Test Results of Mock-Up:  Submit test results of air leakage test and water leakage test of mock-up in accordance with specified standards, including retesting if initial results are not satisfactory.

- F.	Shop Drawings: Submit shop drawings showing locations and extent of air barrier assemblies and details of all typical conditions, intersections with other envelope assemblies and materials, membrane counter-flashings, and details showing how gaps in the construction will be bridged, how inside and outside corners are negotiated, how materials that cover the materials are secured with air-tight condition maintained, and how miscellaneous penetrations such as conduits, pipes, electric boxes and similar items are sealed.

- 1.	Include VOC content of each material, and applicable legal limit in the jurisdiction of the project.

- 2.	Include statement that materials are compatible with adjacent materials proposed for use.

- 3	Include recommended values for field adhesion test on each substrate.

- G.	Compatibility:  Submit letter from manufacturer stating that materials proposed for use are permanently chemically compatible and adhesively compatible with adjacent materials proposed for use.  Submit letter from manufacturer stating that cleaning materials used during installation are chemically compatible with adjacent materials proposed for use.

- H.	VOC Regulations:  Provide products which comply with applicable regulations controlling the use of volatile organic compounds.

- I.	Preconstruction Meeting:  Convene a minimum of two weeks prior to commencing Work of this Section.  Agenda shall include, at a minimum, construction and testing of mock-up, sequence of construction, coordination with substrate preparation, air barrier materials approved for use, compatibility of materials, coordination with installation of adjacent and covering materials, and details of construction and chemical/fire safety plans.  Attendance is required by representatives of related trades including covering materials, substrate materials and adjacent materials.

- J.	LEED: Provide documentation indicating how stated requirements will be met.

- 1.	List of proposed materials.

- 2. 	Product data and certification letters verifying required metrics.

      - QUALITY ASSURANCE

        - Manufacturer Qualifications: Company specializing in manufacturing urethane foam products and systems of this section with minimum ten years documented experience.

        - Installer Qualifications:

          - Installing Subcontractor must be authorized to install Manufacturer’s spray polyurethane foam.

          - Perform Work in accordance with the Spray Foam Manufacturer’s published literature and as specified in this section.

          - Maintain one copy of the Spray Foam Manufacturer’s instructions on site.

          - At all times during the execution of the work allow access to site by the Spray Foam Manufacturer representative.

        - Regulatory Requirements and Approvals: IAPMO

          - Evaluation Report Number: 700

        - Fire-Test-Response Characteristics:  Provide materials specified as determined by testing identical products per test method indicated below by a testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

          - Surface Burning Characteristics (ASTM E84): Flame Spread <25 / Smoke Developed <450

          - Assembly Fire Resistance Rating (NFPA 285):  Passes NFPA 285 as part of an approved assembly.

          - Combustion Characteristics (NFPA 286): Pass

          - Section 014000 - Mock-Ups; exterior wall mock-ups.

      - DELIVERY, STORAGE, AND HANDLING

- A.	Deliver materials to Project site in original packages with seals unbroken, labeled with manufacturer's name, product, date of manufacture, and directions for storage.

- B.	Store materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by air barrier spray foam manufacturer.  Protect stored materials from direct sunlight.

- C.	Handle materials in accordance with manufacturer’s recommendations.

      - PROJECT CONDITIONS

- A.	Temperature:  Install closed-cell, medium density spray polyurethane foam air barrier within range of ambient and substrate temperatures recommended by air barrier manufacturer.  Do not apply air barrier to a damp or wet substrate.

- B.	Field Conditions:  Do not install air barrier in snow, rain, fog, or mist. Do not install air barrier when the temperature of substrate surfaces and surrounding air temperatures are below those recommended by the manufacturer.

- C.	Sequencing.  Do not install air barrier material before the roof assembly has been sufficiently installed to prevent a buildup of water in the interior of the building.

- D.	Compatibility.  Do not allow closed-cell, medium density spray polyurethane foam to come in contact with chemically incompatible materials.

- E.	Ultra-violet exposure.  Do not expose the air barrier material to sunlight longer than as recommended by the manufacturer (if applicable).

      - WARRANTY

- A.	Manufacturer’s Warranty: Provide manufacturer’s standard product warranty, for a minimum 1 year from date of Substantial Completion.

- B.	Manufacturer’s Warranty: Provide manufacturer’s limited product warranty, for a maximum of 10 years from date of Substantial Completion.

- PRODUCTS

      - FOAMED-IN-PLACE INSULATION

        - Medium Density Closed Cell Spray Polyurethane Foam:  JM Gen IV, by Johns Manville.  HFO blown two-component, medium-density, Class 1 rated, spray foam. HFO technology offers a Global Warming Potential (GWP) of less than one and an Ozone Depletion Potential (ODP) of zero.

- 1.	Third Party Verification:  IAPMO ER #700

- 2.	Application Rate:  Up to 4.0 inches in a single pass, to the total thickness required for the project.

- 3.	Physical Properties:

- a.	Nominal Density (ASTM D1622):  2.0 lb/cu.ft.

- b.	Compressive Strength, 1 inch thickness (ASTM D1621):  47 psi.

- c.	Closed-Cell Content (ASTM D6226):  >90%.

- d.	R-Value (ASTM C518):  6.9 at 1 inch.

- e.	Water Absorption (ASTM D2842):  <2.0% by volume.

- f.	Water Vapor Permeance (ASTM E96):  0.81 perms at 1 inch.

- g.	Dimensional Stability (D2126): <9% change ion volume.

- h.	Air Permeance (ASTM E2178):  75 Pa 0.02 L/S.m2 at 1 inch.

- i.	Sound Transmission Coefficient (STC) (ASTM E90-85 / E413):  41 STC

        - Transition Strip at Joint Between Wall and Foundation: Provide a minimum 40-mil self-adhering transition strip between the wall construction and the foundation to shed water to the exterior. Comply with both air barrier manufacturer’s recommendations and material manufacturer’s recommendations.

      - ACCESSORIES

        - Primer: As required by insulation manufacturer based on substrate materials and conditions, reference mfg. installations guidelines.

        - Thermal Barrier: Spray applied foam insulation must be separated from the interior of the building by an approved thermal barrier, such as 1/2-inch (min) gypsum wallboard, or an equivalent 15-minute thermal barrier complying with the applicable code. The alternative thermal barrier coating system shall be applied to the closed cell polyurethane foam insulation and tested to the criteria of NFPA 286, UL 1715 for duration of 15 minutes by an accredited fire testing facility and satisfies the International Building Code (IBC) requirements.

          - Alternative thermal barrier coating - Intumescent Coating: Subject to compliance with requirements of Contract Documents, products which may be incorporated into the Work include, but are not limited to, the following. Use only intumescent coatings approved by the respective polyurethane insulation manufacturer.

            - DC315; manufactured by National Fireproof, Inc.

          - Ignition Barrier: When the insulation is installed within an attic space where entry is made only for service of utilities, an ignition barrier must be installed in accordance with IBC. The ignition barrier must be consistent with the requirements for the type of construction required by the applicable code. The ignition barrier may be an intumescent coating identified above. Products which may be incorporated into the Work include, but are not limited to, the following:

            - DC315; manufactured by National Fireproof, Inc

          - JM Gen IV meets NFPA 286 criteria for various conditions and may be installed without a prescriptive ignition barrier in per IAPMO Evaluation Report 700.

- EXECUTION

      - EXAMINATION

- A.	Examine substrates, areas, and conditions under which the air barrier assembly will be installed, with Installer present, for compliance with requirements.

          - Verify that surfaces and conditions are suitable prior to commencing work of this section.  Do not proceed with installation until unsatisfactory conditions have been corrected.

          - Ensure that the following conditions are met:

            - Surfaces are sound, dry, even, and free of oil, grease, dirt, excess mortar or other contaminants

            - Concrete surfaces are cured and dry, smooth without large voids or sharp protrusions.

            - Masonry joints are reasonably flush, and all excess mortar sitting on masonry ties has been removed.

          - Verify substrate is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263 and take suitable measures until substrate passes moisture test.

          - Verify sealants are compatible with membrane proposed for use.  Perform field peel-adhesion test on materials to which sealants are adhered.

          - Notify Architect in writing of anticipated problems using closed-cell, medium density spray polyurethane foam over substrate prior to proceeding.

      - SURFACE PREPARATION

- A.	Clean, prepare, and treat substrate according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrate for air barrier application.

- 1.	Ensure that penetrating work by other trades is in place and complete.

- 2.	Prepare surfaces by brushing, scrubbing, scraping, grinding or compressed air to remove loose mortar, dust, oil, grease, oxidation, mill scale and other contaminants which will affect adhesion of the closed-cell, medium density spray polyurethane foam.

- 3.	Where there are release agents or other non-compatible coatings, wipe down metal surfaces to remove these release agents or other non-compatible coatings, using clean sponges or rags soaked in a solvent compatible with the spray polyurethane foam.

- 4.	Ensure veneer anchors are in place.

- B.	Protection from Spray Applied Materials:

- 1.	Mask and cover adjacent areas to protect from overspray.

- 2.	Ensure any required foam stop or back up material are in place to prevent over spray and achieve complete seal.

- 3.	Seal off existing ventilation equipment.  Install temporary ducting and fans to ensure exhaust fumes.  Provide for make-up air.

- 4.	Erect barriers, isolate area and post warning signs to advise non-protected personnel to avoid the spray area.

      - INSTALLATION

- A.	Spray Polyurethane Foam Installation: Install materials in accordance with manufacturer's recommendations, ULC S 705.2 and the following:

- Apply only after transition strip at foundation and wall intersection has been installed.

- Installer shall use proper personal protective equipment (PPE) during the installation of material in accordance with US Government regulation 29 CFR 1910.134.

- Warning signs shall be displayed and non-protected personnel shall be kept from the spray area in accordance with ULC S705.2.

- Equipment used to spray polyurethane foam shall comply with ULC S 705.2 and the manufacturer’s recommendations for the specific type of application. Record equipment settings on the Daily Work Record as required by the ULC S 705.2 installation standard. Each proportioner unit shall supply only one spray gun.

- Apply only when surfaces and environmental conditions are within limits prescribed by the material manufacturer or the ULC S 705.2 Installation standard.

- Apply in consecutive passes as recommended by manufacturer to thickness as indicated on drawings.  Passes shall be not less than 1/2 inch (12 mm) and not greater than 3.5 inches (75 mm).  An additional pass shall only be done after the first pass has had time to cool down.

- Install within manufacturer’s tolerances, but not more than minus 1/4 inch (6 mm).

- Do not install spray polyurethane foam within 3 inches (75 mm) of heat emitting devices such as light fixtures and chimneys.

- Finished surface of foam insulation to be free of voids and embedded foreign objects.

- Remove masking materials and over spray from adjacent areas immediately after foam surface has hardened.  Ensure cleaning methods do not damage work performed by other sections.

- Trim, as required, any excess thickness that would interfere with the application of cladding/covering system by other trades.

- Clean and restore surfaces soiled or damaged by work of the section.  Consult with section of work soiled before cleaning to ensure methods used will not damage the work.

- Complete connections to other components and repair any gaps, holes or other damage using material which conforms to ULC S 710.1 (single component) or ULC S 711.1 (two components) and installed in accordance with ULC S 710.2 or ULC S 711.2 as applicable.

      - FIELD QUALITY CONTROL

- A.	Owner’s Inspection and Testing:  Cooperate with Owner’s testing agency.  Allow access to work areas and staging.  Notify Owner’s testing agency in writing of schedule for Work of this Section to allow enough time for testing and inspection.  Do not cover Work of this Section until testing and inspection is accepted.

      - PROTECTING AND CLEANING

- A.	Protect material from damage during installation and the remainder of the construction period, according to manufacturer's written instructions.

          - Coordinate with installation of materials which cover the air barrier assemblies, to ensure exposure period does not exceed that recommended by the manufacturer.

- B.	Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction and acceptable to the primary material manufacturer.

- END OF SECTION